Sui Tian Fu Ban Gui [2022] No. 1

Notice of Tianhe District People’s Government of Guangzhou Municipality on Defining the Management and Protection Scopes of the Three-River Water Replenishment Project (Water Conservancy Project)

In order to define the management and protection scopes of the Three-River Water Replenishment Project, to manage and protect the project according to laws and regulations, and to ensure the safety of flood control and engineering in the area, in accordance with the Water Law of the People’s Republic of China, Flood Control Law of the People’s Republic of China, Regulations of Guangdong Province on the Administration of Water Conservancy Projects, Guidelines on the Delimitation of the Management and Protection Scopes of Water Conservancy Projects in Guangdong Province (for Trial Implementation), the management and protection scopes of Three-River Water Replenishment Project have been delimited based on the actual situation of Tianhe District. The relevant scopes are hereby announced as follows:

I. Scope of Project

Three-River Water Replenishment Project: Changhong Pump Station, Dongpu Pump Station, and 4 water pipelines (including the main water pipeline, Shahe River Branch Pipeline, Liede River Branch Pipeline, Chebei River Branch Pipeline, and ancillary facilities, referred to as the “water pipelines”).

II. Scope of Management

For pump stations: The management scope of a pump station is defined based on the sluice standard. It shall cover every component of a pump station (including the storage reservoir, inlet channel, and pump house) and certain distances on the upstream and downstream sides (100 meters for each) and the other two sides (50 meters for each). The management scope of the production and living quarters of a pump station (including the equipment room, management room, etc.) shall be no less than three times of the construction areas.

For water pipelines: The management scope of the water pipelines shall cover the water pipelines and five meters extending from both sides of the pipelines.

III. Scope of Protection

For pump stations: within a 200-meter radius around the management scope of main buildings in the engineering area, production and living quarters, and within a 50-meter radius of the management scope of the auxiliary buildings.

For water pipelines: within a 20-meter radius around the management scope.

IV. Boundary markers and signs shall be set up around the management and protection scopes of the Three-River Water Replenishment Project. No organization or individual is allowed to move and damage such markers and signs.

V. Any citizen, legal person and other organization shall be prohibited from engaging in any construction or business activities that may endanger the engineering safety within the management scope of the Three-River Water Replenishment Project without authorization.

VI. Within the protection scope of the Three-River Water Replenishment Project, activities such as blasting, drilling wells, quarrying, taking soil, reclaiming wasteland on the steep slope, logging, mining, stacking, or discharging pollutants that endanger the safety and pollute the water quality of Three-River Water Replenishment Project are prohibited.

VII. Violators of the above regulations shall be held accountable for legal responsibilities by the district’s water administrative department according to laws and regulations such as the Water Law of the People’s Republic of China and Regulations of Guangdong Province on the Administration of Water Conservancy Projects.

VIII. Citizens, legal persons and other organizations that find any illegal acts within the management and protection scopes of the Three-River Water Replenishment Project can report to the Water Affairs Bureau of Tianhe District. Tel: 020-85533398; Mail address: 166 Middle Huangpu Avenue, Guangzhou City; Zip code: 510655.

IX. This Notice does not change the ownership of any land, nor shall it be used as the certificate of land ownership.

X. These Measures shall be implemented as of April 3, 2022 and shall remain valid for 5 years.

Attachment: Plan of Management and Protection Scopes of Three-River Water Replenishment Project (Water Conservancy Project) (Water Pipelines, Dongpu Pump Station, and Changhong Pump Station). pdf

Tianhe District People’s Government of Guangzhou Municipality

February 24, 2022

Form of Disclosure: Active Disclosure

| General Office of Tianhe District People’s Government of Guangzhou Municipality | March 3, 2022 |
| --- | --- |